| Insulation Test Record – Signalling Circuits |
| --- |
|  |  |  |  |  |  |  |  | Calibration Date: |
| Circuit Book Name: |  | Circuit Book No: |  | Megger Type: |  | Serial No: |  | / /  |
| Wire Type: |  | Wire Size: |  | Meter Type: |  | Serial No: |  | / /  |
|  |
|  | **TEST** | **RE-TEST** |
| Install Date | CB Page No | Circuit | Fuse No | Term No | Location | Supply | Test to Earth | Date | Fault Code | Re-Test to Earth | Date | Fault Code |
|  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |
| **Weather Condition:** | Initial Test: |  | Re-Test |  | (Circle applicable option) |
| *Note: 1) Remove all applicable lightning arrestors and electronic components prior to insulation testing.* *2) Ensure signalling earth resistance at main location is 5 ohms max; at external locations is 10 ohms max.* |
| Earth Resistance |  |
| Remarks: |  |
|  |
| **Certified Correct – Signal Technician Name:** |  | **Checked Signal Engineer/Team Manager Name:** |  |
| Date: |  | Signature: |  | Date: |  | Signature: |  |