| Power Supply History Card |
| --- |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **LOCATION:** | | | | | | | | | |  | | | | | | | | | | | | | | | | | | |  | | | | | | | | | |
| **INTERLOCKING** | | | | | | | | | |  | | | | | | | | | | | | | | | | | |  | | | | | | | | | | |
|  | |  | |  | |  | |  | |  | |  | |  | |  | | |  | | | | | | | | | | | | | | | | | | | | | | |
| **Busbar Voltage** | **Indication on ELD** | | **B *or BX to Earth*** | | **N or NX to Earth** | | **Busbar Voltage** | | **Indication on ELD** | | **B *or BX to Earth*** | | **N or NX to Earth** | | **Busbar Voltage** | | | **Indication on ELD** | | **B *or BX to Earth*** | **N or NX to Earth** | | **Busbar Voltage** | **Indication on ELD** | **B *or BX to Earth*** | | **N or NX to Earth** | | | **Busbar Voltage** | **Indication on ELD** | | **B *or BX to Earth*** | | **N or NX to Earth** | **Earth Resistance** | **#** | **Comments** | | **Name** | **Signature** | | **Date** |
|  |  | |  | |  | |  | |  | |  | |  | |  | | |  | |  |  | |  |  |  | |  | | |  |  | |  | |  |  |  |  | |  |  | |  |
|  |  | |  | |  | |  | |  | |  | |  | |  | | |  | |  |  | |  |  |  | |  | | |  |  | |  | |  |  |  |  | |  |  | |  |
|  |  | |  | |  | |  | |  | |  | |  | |  | | |  | |  |  | |  |  |  | |  | | |  |  | |  | |  |  |  |  | |  |  | |  |
|  |  | |  | |  | |  | |  | |  | |  | |  | | |  | |  |  | |  |  |  | |  | | |  |  | |  | |  |  |  |  | |  |  | |  |
|  |  | |  | |  | |  | |  | |  | |  | |  | | |  | |  |  | |  |  |  | |  | | |  |  | |  | |  |  |  |  | |  |  | |  |
|  |  | |  | |  | |  | |  | |  | |  | |  | | |  | |  |  | |  |  |  | |  | | |  |  | |  | |  |  |  |  | |  |  | |  |
|  |  | |  | |  | |  | |  | |  | |  | |  | | |  | |  |  | |  |  |  | |  | | |  |  | |  | |  |  |  |  | |  |  | |  |
|  |  | |  | |  | |  | |  | |  | |  | |  | | |  | |  |  | |  |  |  | |  | | |  |  | |  | |  |  |  |  | |  |  | |  |
|  |  | |  | |  | |  | |  | |  | |  | |  | | |  | |  |  | |  |  |  | |  | | |  |  | |  | |  |  |  |  | |  |  | |  |
|  |  | |  | |  | |  | |  | |  | |  | |  | | |  | |  |  | |  |  |  | |  | | |  |  | |  | |  |  |  |  | |  |  | |  |
|  |  | |  | |  | |  | |  | |  | |  | |  | | |  | |  |  | |  |  |  | |  | | |  |  | |  | |  |  |  |  | |  |  | |  |
|  |  | |  | |  | |  | |  | |  | |  | |  | | |  | |  |  | |  |  |  | |  | | |  |  | |  | |  |  |  |  | |  |  | |  |
| **#** Weather : - 1. Wet; 2. Damp; 3. Dry | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | |
| **Earth Leakage Detector Sensitivity Settings** | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | |
| Busbar Volts(Normal) | | | | | | | | | | | | | | | | | 12V DC | | | | | 24V DC | | | | 50V DC | | | | | |  | | 120V AC | | | | | 415V AC | | | | |
| ELD Sensitivity in K ohms | | | | | | | | | | | | | | | | | 15 | | | | | 15 | | | | 40 | | | | | |  | | 40 | | | | | 100 | | | | |
| Equivalent Earth Leakage Current in mA | | | | | | | | | | | | | | | | | 1 | | | | | 1.5 | | | | 1.3 | | | | | |  | | 3 | | | | | 4.2 | | | | |